- Section 102800 
Toilet, Bath, and Laundry Accessories - ASI

PART 1  GENERAL

SECTION INCLUDES

Baby changing stations.

RELATED REQUIREMENTS

REFERENCE STANDARDS

ADA Standards - 2010 ADA Standards for Accessible Design; 2010.

ASTM F2285 - Standard Consumer Safety Performance Specification for Diaper Changing Tables for Commercial Use; 2022.

ICC A117.

1 - Accessible

- and Usable Buildings

and Facilities; 2017.

SUBMITTALS

See Section 013000 - Administrative Requirements for submittal procedures.

Manufacturer's Installation Instructions:  Indicate special procedures and conditions requiring special attention.

PART 2  PRODUCTS

MANUFACTURERs

Basis of Design Manufacturer:  American Specialties, Inc:  www.americanspecialties.com/#sle.

Other Acceptable Manufacturers:

Products by listed manufacturers are subject to compliance with specified requirements found in specification and in Technical Data Sheet of selected ASI model and prior approval of Architect.

Substitutions:  See Section 016000 - Product Requirements.

All proposed substitutions (clearly delineated as such) must be submitted in writing for approval by Architect minimum of 10 working days prior to bid date and must be made available to all bidders. Proposed substitutes must be accompanied by review of  specification and ASI Technical Data Sheets noting compliance on line-by-line basis.

Baby Changing Stations

Baby Changing Station:  Wall-mounted folding baby changing station for use in commercial toilet facilities, meeting or exceeding ASTM F2285.

- The paragraph below is optional text

Material:  As indicated in product listing.

- The paragraph below is optional text

Mounting:  As indicated in product listing.

Products:

Model 9014 - Baby Changing Station - Horizontal - Plastic - Surface-mounted.

Substitutions:  016000 - Product Requirements.

Materials

Accessories - General:  Shop assembled, free of dents and scratches and packaged complete with anchors and fittings, steel anchor plates, adapters, and anchor components for installation.

- The paragraph below is optional text

Fabrication

Finishes

- The paragraph below is optional text

Shop Primed Ferrous Metals:  Pretreat and clean, spray apply one coat primer and bake.

- The paragraph below is optional text

Back paint components where contact is made with building finishes to prevent electrolysis.

PART 3  EXECUTION

EXAMINATION

Verify existing conditions before starting work.

Verify exact location of accessories for installation.

PREPARATION

Deliver inserts and rough-in frames to site for timely installation.

Provide templates and rough-in measurements as required.

INSTALLATION

Install accessories in accordance with manufacturers' instructions in locations indicated on drawings.

- The paragraph below is optional text

Mounting Heights:  As required by accessibility regulations, unless otherwise indicated.

Other Accessories:  As indicated on drawings.

PROTECTION

Protect installed accessories from damage due to subsequent construction operations.

END OF SECTION